- Using An OM4 Cable On SFP56 Port In 6300 Doesn't Show As OM4

Labels: ArubaOS-CX Switches

Q:

Background:

An SFP28(25Gig) transceiver(Aruba 25G SFP28 LC SR 100m MMF Transceiver-JL484A) is used on an SFP56 capable port #1/0/25

on a 6300 switch(Aruba 6300F 24-port 1GbE and 4-port SFP56 Switch-JL668A).

Equivalent 48-port switch showing SFP56 capable ports:

3m OM4 cable used:

Why output of show interface transceiver shows as OM3, even though we used an OM4 cable ?

A:

No need to worry.

The missing OM4 length from show interface output is a software cosmetic issue.

Moreover,

The output of show interface transceiver detail is the maximum length supported with that particular cable.

E.g. OM3 70m means you can use OM3 cable up to 70m.

Attachments:

HPE_a00028947en_us_ArubaOS-Switch and ArubaOS-CX Transceiver Guide (Edition 10).pdf

Tags: ArubaOS-CX Switches, arubaos-cx 10.07.xxxx, #6300, sfp28, om4, om3, #sfp56